## Sheet1
Title | Infrared Dermal Thermography on Diabetic Feet Soles to Predict Ulcerations: a Case Study | Thermographic findings in a case of type 2 diabetes with foot ulcer and osteomyelitis | Computer aided detection of diabetic foot ulcer using asymmetry analysis of texture and temperature features | Update on the Use of Infrared Thermography in the Early Detection of Diabetic Foot Complications: A Bibliographic Review | Quantitative Estimation of Temperature Variations in Plantar Angiosomes: A Study Case for Diabetic Foot | Automated Diabetic Foot Ulcer Detection and Classification Using Deep Learning | A Deep Learning Approach for Diabetic Foot Ulcer Classification and Recognition | DFU-SIAM a Novel Diabetic Foot Ulcer Classification With Deep Learning | DFU_QUTNet: Diabetic Foot Ulcer Classification Using Novel Deep Convolutional Neural Network | Computer Aided Diagnosis of Diabetic Foot Using Infrared Thermography: A Review | Diabetic foot ulcer mobile detection system using smart phone thermal camera: a feasibility study | infrared Thermal Imaging for Automated Detection of Diabetic Foot Complications | Automatic detection of diabetic foot complications with infrared thermography by asymmetric analysis | Automatic Diabetic Foot Ulcer Recognition Using Multi-Level Thermographic Image Data | A Machine Learning Model for Early Detection of Diabetic Foot using Thermogram Images
Objective(What problem are they solving) | To develop an intelligent telemedicine monitoring system for frequent examination of diabetic patients' feet to detect pre-signs of ulceration using infrared dermal thermography. | To evaluate the use of thermography for early detection of diabetic foot ulcers (DFU) and osteomyelitis in diabetic patients. | i wanna build my own ml model for a hacakathon on early detection of diabetic foot ulcers and as i mentioned earlier i want to analyze 15 articles to find most succesful and accurate method to accomplish that so please tell me these parameters from the attached article in a copyable format into excell - Objective (What problem are they solving?) Dataset Used (Size, type of images, source) Preprocessing Techniques (How did they prepare the data?) ML Model Used (e.g., CNN, SVM, etc.) Performance Metrics (e.g., accuracy, sensitivity, specificity) Limitations (What challenges did they face?) Key Takeaways (What can you learn from this paper?) | To review the effectiveness of infrared thermography (IRT) as a diagnostic tool for early detection of diabetic foot ulcers (DFUs) and complications in diabetic patients. | To propose a methodology for quantitative estimation of temperature variations in plantar angiosomes to detect early signs of diabetic foot ulcers and prevent complications. | To develop an automated system for diabetic foot ulcer (DFU) detection and classification using deep learning (DL) techniques, specifically focusing on early detection to prevent complications. | To classify and recognize diabetic foot ulcers (DFU) using deep learning models for early detection of infection and ischemia, aiming to improve treatment outcomes and reduce the risk of limb amputation. | To classify diabetic foot ulcer (DFU) images into four classes: None, Infection, Ischemia, or Both, using a novel deep learning approach combining Convolutional Neural Networks (CNN) and Vision Transformers (ViT) within a Siamese Neural Network (SNN) architecture | To classify diabetic foot ulcer (DFU) images into two classes: normal (healthy skin) and abnormal (DFU), using a novel deep convolutional neural network (DFU_QUTNet) for early detection and diagnosis. | To review the use of infrared thermography (IRT) for the early detection of diabetic foot complications, including ulcers, and to discuss various computer-aided diagnosis (CAD) systems. | To build a mobile thermal imaging system for early detection of diabetic foot ulcers (DFUs) using a smartphone-connected thermal camera. | To explore the applicability of high-resolution infrared thermal imaging for noninvasive automated detection of signs of diabetic foot disease. | To develop an automated system for early detection of diabetic foot complications using infrared thermography and asymmetric analysis. | To develop an automatic system for early detection of diabetic foot ulcers (DFUs) using thermographic images. | To develop a machine learning model for early detection of diabetic foot ulcers (DFUs) using thermogram images.
Dataset used(Size, type of images, sources) | Size: Not explicitly mentioned (20 measurements analyzed). Type: Thermal images of diabetic foot soles. Source: Hospital Group Twente, Almelo, the Netherlands. | Size: 1 patient (case study) - Type of images: Thermographic images and MRI scans - Source: National Centre for Global Health and Medicine (NCGM) Hospital, Tokyo, Japan. | Size: 60 subjects (24 non-diabetic controls, 36 diabetic patients) Type of images: Infrared thermal images and color images Source: Hycare for Wounds, Chennai, India. | Size: 26 articles reviewed (various sample sizes across studies) Type of images: Infrared thermal images Source: Multiple studies from PubMed, Web of Science, Scopus, and Cochrane Library. | Size: Not explicitly mentioned (study involved patients with diabetes type 2 and neuropathy) Type of images: Infrared thermal images Source: General Hospital of San Juan del Río, Mexico. | Size: 844 images (410 abnormal, 434 normal) - Type of images: Medical images of diabetic foot ulcers - Source: Kaggle repository. | Name: DFU2020 dataset - Size: 1459 images (initially), augmented to 4935 patches for ischemia and 2945 patches for infection - Type of Images: RGB images with sizes ranging from 1600x1200 to 3648x2736 - Source: Publicly available dataset (https://www.touchendocrinology.com/diabetes/journal-articles/the-dfuc-2020-dataset-analysis-towards-diabetic-foot-ulcer-detection/) | DFU2021 Challenge dataset (5734 images, RGB, sourced from the DFU Grand Challenge). Class distribution: None (2552), Infection (2555), Ischemia (227), Both (621). | 754 foot images (RGB) collected from Nasiriyah Hospital’s diabetic center in Iraq. The dataset contains 1609 patches (542 normal, 1067 abnormal) labeled by a medical specialist. | Not explicitly mentioned (review article, no specific dataset used) | Thermal images of feet (8 test images: 1 healthy, 7 with simulated ulcers). Images acquired using FLIR ONE thermal camera (160x120 resolution). | 15 patients with diabetes (5 without complications, 5 with local complications, 5 with diffuse complications). Thermal images acquired using FLIR SC305 camera (320x240 resolution). | 76 high-risk diabetic patients. Thermal and RGB images acquired using FLIR SC305 thermal camera (320x240 resolution) and Canon EOS 40D RGB camera. | Size: 334 plantar thermograms (122 diabetic patients, 45 control group). - Type: Thermographic images. - Source: Public dataset from Puebla, Mexico. | Size: 167-foot pair thermograms (122 diabetic patients, 45 control group). - Type: Thermographic images. - Source: Public dataset from Hernandez-Contreras et al. (2019).
Preprocessing Techniqes(How did they prepare the data) | Foot Segmentation (ACWE model), Image Enhancement (intensity inversion), Registration (B-spline grid), Thermal Reference Elements for calibration. | Thermographic images were taken after 15 minutes of equilibration. - Temperature difference between the knee and each site was evaluated to account for normal variations in skin temperature. | Thermal and color images of the plantar foot were acquired. Foot regions were segmented using a region-growing algorithm. Vertical alignment of feet position was corrected. 11 regions of interest (ROIs) were manually selected. Texture and temperature features were extracted from the ROIs. | Thermal images were acquired using standardized protocols. Some studies used black backgrounds to reduce environmental interference. Images were segmented and analyzed for temperature and texture features. | Thermal images were acquired in a controlled environment (25 ± 1°C). - Images were segmented into four angiosomes (MPA, LPA, MCA, LCA). - Pixels were classified based on temperature ranges. | Feature extraction using the Inception-ResNet-v2 model. - Hyperparameter tuning using the Sparrow Search Optimization (SSO) algorithm. - Classification using the Stacked Sparse Autoencoder (SSAE) model. | Data augmentation techniques: rotation, flipping, scaling, translation, mirroring, pepper and salt noise, Gaussian noise, and shearing - Affine transform techniques for increasing input size - Fine-tuning of pre-trained models on ImageNet dataset | Data augmentation techniques applied: ColorJitter, RandomEqualize, RandomHorizontalFlip, RandomVerticalFlip. Test Time Augmentation (TTA) was also used to enhance prediction accuracy. | Data augmentation techniques applied: rotation (45°, 90°, 145°, 180°, 245°, 280°, 345°), flipping (horizontal and vertical), contrast and brightness adjustments. Patches resized to 224x224 pixels. | Preprocessing steps include image segmentation, feature extraction, and feature ranking | Image segmentation using Otsu thresholding. - Image smoothing (border clearing, erosion, hole-filling). - Image registration and flipping for point-to-point analysis. - Edge detection using Sobel operators. | Manual annotation of foot boundaries in color images. - Calibration of thermal camera using reference elements. - Calculation of mean temperature for whole foot and regions of interest (ROIs). | Foot segmentation in RGB images using unsupervised machine learning (K-means, EM-LDC, EM-QDC). - Registration optimization to align RGB and thermal images. - Nonrigid landmark-based registration with B-splines for left-right foot alignment. | Data augmentation: Rotation (90°, 180°, 270°), horizontal flip, vertical flip. - No pre-processing applied to the original images. | Data augmentation: Rotation and translation. - Image enhancement: Adaptive Histogram Equalization (AHE) and Gamma Correction. - Feature extraction: 39 features including age, gender, TCI, and temperature-related metrics.
ML Model Used | No explicit ML model. Image processing techniques (ACWE, B-spline). | Not applicable (This study did not use machine learning; it was a case study using thermography and MRI). | Support Vector Machine (SVM) | Not explicitly mentioned (review article summarizing various studies, some of which used ML models like SVM, but not detailed in this review). | Not applicable (This study did not use machine learning; it focused on image processing and temperature analysis). | Inception-ResNet-v2 for feature extraction. - Sparrow Search Optimization (SSO) for hyperparameter tuning. - Stacked Sparse Autoencoder (SSAE) for classification. | Models: AlexNet, VGG16/19, GoogLeNet, ResNet50/101, MobileNet, SqueezeNet, DenseNet - Approach: Transfer learning with fine-tuned weights - Framework: Convolutional Neural Networks (CNNs) | Ensemble of EfficientNetV2S (CNN) and BEiT (Vision Transformer) within a Siamese Neural Network (SNN). K-Nearest Neighbors (KNN) was used for classification. | DFU_QUTNet (novel CNN architecture), SVM, KNN. Pre-trained models (GoogleNet, VGG16, AlexNet) were also fine-tuned and tested for comparison. | Various methods discussed, including asymmetric temperature analysis, but no specific ML model is highlighted. | No specific ML model used. Image processing techniques like Otsu thresholding and point-to-point mean difference were applied | No specific ML model used. Algorithm based on temperature differences between feet and ROIs. | No specific ML model used. Image processing techniques like K-means, EM-LDC, and EM-QDC were used for segmentation. | Machine Learning: SVM, RF, XGBoost, Naive Bayes, AdaBoost, kNN, Bagging. - Deep Learning: ResNet50, DenseNet121, Custom CNN. | Machine Learning: AdaBoost, Random Forest, Extra Tree, XGBoost, SVM, kNN, etc. - Deep Learning: ResNet18, ResNet50, DenseNet201, InceptionV3, VGG19, MobileNetV2.
Performance Metrices(accuracy, senstivity, specificity) | Threshold for abnormality detection: >2.2°C temperature difference between left and right foot. | Not applicable (No ML model was used; the study focused on thermographic findings and MRI correlation). | Accuracy: 95.61% Sensitivity: 96.50% Specificity: 92.41% | Accuracy, sensitivity, and specificity varied across studies. Some studies reported high accuracy (e.g., 95.61% in one study). | Not applicable (No ML model was used; the study focused on temperature estimation and hot spot detection). | Accuracy: 99.29% - Precision: 99.29% - Recall: 99.29% - F1-Score: 99.29% - AUC Score: 99.29% - MCC: 98.58%. | ResNet50 (Best Model): - Ischaemia: 99.49% accuracy, 99.59% sensitivity, 99.39% specificity, 99.39% precision, 99.49% F-Score, 99.96% AUC, 98.99% MCC - Infection: 84.76% accuracy, 89.80% sensitivity, 85.71% specificity, 83.27% precision, 85.00% F-Score, 94.16% AUC, 75.57% MCC | Macro F1-Score: 0.6228, Accuracy: 93.95%, Precision: 94.72%, Recall: 95.71%, AUC: 97.51%. | DFU_QUTNet + SVM achieved the highest F1-score of 94.5%. Precision: 95.4%, Recall: 93.6%. | Not explicitly mentioned (review article) | Successfully identified regions with temperature differences > 2.2°C, indicating possible ulcers. - No explicit accuracy, sensitivity, or specificity metrics provided. | Temperature differences >2°C for local complications. - Temperature differences >3°C for diffuse complications. - No explicit accuracy, sensitivity, or specificity metrics provided. | Sensitivity: 97.9% ± 1.1% (foot segmentation in thermal images). - Specificity: 98.3% ± 0.5% (foot segmentation in thermal images). - 95% detection rate for diabetic foot ulcers (35 out of 37 ulcers detected). | Best Accuracy: 97.1% (Custom CNN, image-level). - Best Sensitivity: 0.97 (Custom CNN, image-level). - Best Specificity: 0.958 (Custom CNN, image-level). - Best AUC: 0.976 (Custom CNN, image-level). | Best Accuracy: 96.71% (AdaBoost with Random Forest feature selection). - Best Sensitivity: 97.95% (AdaBoost). - Best Specificity: 97.95% (AdaBoost). - Best F1-Score: 97.75% (AdaBoost).
Limitations(What challenges did they face?) | Segmentation challenges with low-temperature feet and visible ankles/legs. Manual intervention required for some images. Sensitivity to initial contour position and noise. | Small sample size (single case study). No machine learning or automated analysis was applied. Thermography results were not compared with a larger dataset or control group. | Small dataset (60 subjects). Manual selection of ROIs may introduce bias. The study did not explore other machine learning models for comparison. | Lack of standardized protocols for image acquisition. Variability in sample sizes and patient populations. Limited evidence on the effectiveness of IRT in preventing complications | Small sample size (specific number not mentioned). - Manual segmentation of angiosomes. - No machine learning or automated analysis was applied. | Dependency on precise pixel-level annotations. - Limited dataset size (844 images). - Potential overfitting due to the complexity of the deep learning model. | Limited dataset size for infection classification (fewer samples compared to ischemia) - Asymmetrical shapes and diverse colors of skin lesions make detection challenging - Privacy concerns limit the availability of larger datasets for training | Class imbalance in the dataset (especially for "Both" and "Ischemia" classes). Limited computational resources for further fine-tuning. Ethical concerns regarding patient data privacy. | Limited dataset size (754 images). Challenges in differentiating small DFUs, skin wrinkles, and patches with toes. Class imbalance (more abnormal patches than normal | Challenges include the need for more robust algorithms, inter-observer variability, and the difficulty in identifying risk regions if complications are present in both feet. | Simulated ulcers (not real clinical data). - Limited dataset (8 test images). - FLIR ONE camera has lower resolution and accuracy compared to high-end thermal cameras | Manual annotation of foot boundaries required. - Small sample size (15 patients). - Difficulty in detecting bilateral complications. - No automated image analysis. | Cannot detect complications if one foot is amputated. - Difficulty in detecting bilateral complications. - No gold standard for segmentation and registration evaluation. | No pre-processing was applied to the images, which could have improved results. - The model cannot fully replace human experts but can assist in remote areas. | Limited dataset size. - Image enhancement techniques did not always improve performance. - Deep learning models require significant computational resources.
Key takeaways | Infrared thermography is useful for early ulcer detection. Automated detection is feasible but requires improvements in segmentation and shielding. | Thermography can detect elevated skin temperature in areas with latent inflammation, even without visible signs of infection. Thermography may be useful for early screening of DFU and osteomyelitis. | Asymmetry analysis of texture and temperature features can effectively detect early signs of diabetic foot ulcers. SVM achieves high accuracy, sensitivity, and specificity for classification. Combining texture and temperature features improves detection. | IRT is a promising tool for early detection of DFUs and monitoring temperature changes. Combining IRT with other diagnostic methods may improve accuracy. More research is needed to standardize protocols and validate findings. | Temperature variations in plantar angiosomes can indicate ulceration risks. - Quantitative analysis of thermal images can help detect early signs of diabetic foot complications. - Hot spots (small high-temperature regions) can be detected using the proposed methodology. | The proposed SSODL-DFUDC technique achieves high accuracy in DFU detection and classification. - Combining Inception-ResNet-v2 with SSO and SSAE improves performance. - Future work could explore weakly supervised learning to reduce annotation dependency. | ResNet50 outperformed other models for both ischemia and infection classification - Data augmentation and fine-tuning are effective for improving model performance with limited data - Early detection of DFU using deep learning can significantly improve patient outcomes and reduce amputation risks | Combining CNN and ViT in a Siamese Network with Large Margin Cotangent Loss (LMCoT) improves DFU classification. Data augmentation and KNN enhance model performance. Federated learning could address data privacy issues. | DFU_QUTNet, with its increased width and multi-level feature extraction, outperformed state-of-the-art CNNs. Data augmentation improved model performance. SVM classifier worked best with extracted features | Infrared thermography is a non-invasive, fast, and effective method for detecting diabetic foot complications. Asymmetric temperature analysis is a commonly used and effective technique. Future work should focus on improving algorithms and integrating deep learning for better accuracy | A mobile thermal imaging system can be used for early detection of DFUs. - Otsu thresholding and point-to-point difference techniques are effective for identifying temperature anomalies. - Future work should focus on clinical validation and higher-resolution cameras. | High-resolution infrared thermal imaging can detect diabetic foot complications. - Temperature differences >2°C and >3°C can indicate local and diffuse complications, respectively. - Future work should focus on automated image analysis and larger clinical studies | Infrared thermography combined with RGB imaging can effectively detect diabetic foot complications. - Asymmetric analysis with nonrigid registration improves detection accuracy. - Future work should focus on combining thermography with other modalities like photometric stereo imaging. | Custom CNN outperformed pre-trained models (ResNet50, DenseNet121). - Image-level data provided better results than patch-level or combined data. - Thermography is a non-invasive, cost-effective method for early DFU detection. | AdaBoost with Random Forest feature selection outperformed deep learning models. - Dual-foot thermograms provided better results than single-foot thermograms. - Gamma Correction improved classification performance for dual-foot thermograms. - The proposed model can be deployed on smartphones for real-time monitoring.